Escalation Procedures

PLC & automation support — match training site policy

Level 1: Technician Resolves Independently

Tier: success

• Sensor replacement (proximity, photoelectric, limit switch)

• Push button swap

• IP configuration and PLC connectivity

• HMI fault clear and alarm management

• Safety circuit reset (area scanner, light curtain, E-stop)

• Area scanner zone verification

• I/O signal trace via PLC software

• Fuse replacement (after identifying root cause of blown fuse)

Level 2: Escalate to Lead Technician / Noah Staudacher

Tier: warning

• Ladder logic modification required

• Servo drive fault (E-series codes, STO errors)

• New I/O module addition or configuration

• Area scanner zone reprogramming on production equipment

• VFD parameter changes or fault diagnosis

• Any fault that persists after Level 1 troubleshooting

Level 3: Escalate to Automation Engineering

Tier: danger

• PLC program structural changes

• EtherCAT/EtherNet/IP configuration changes

• New machine integration

• Firmware updates on any controller or drive

• Any unresolvable communication fault after Level 2 troubleshooting

• Safety system design changes

Document before escalating

• Machine name and asset number

• PLC platform and software version

• HMI alarm code and alarm text (take a photo)

• Tag name(s) involved, current vs. expected values

• Steps already taken and results

• Time of fault occurrence and production impact